Wisconsin Power & Light Solar Energy Projects

Wood County Saratoga, Wisconsin

Implementation Date:

Review/Revision Date:

| Approved By: | Title: | Date: | Effective Date: |
| --- | --- | --- | --- |
| Approved By: |  |  | Review Date: |
| Approved By: |  |  | Supersedes: |

Table of Contents

Emergency Action Plan

Page

1.0	Purpose…………………………………………………………………………………..3

1.1	Emergency Contact Information / Important Project Numbers……………3

2.0	Types of Emergency Evacuations	4

2.1	Types of Alarms	4

3.0	Employee Training	4

4.0	Fire Prevention Plan	5

4.1	Fire and Emergency Reporting	5

4.2        Maps…………………………………………………………………………….5

4.3        Emergency Evacuation Procedures and Assignments…………………….5

5.0	Tornado Procedures	6

6.0	Rescue and Medical Duty Assignments	6

7.0	Critical Plant Procedures	7

8.0	Emergency Coordinator	7

Appendix A - Map to Hospital (Emergency Room)	8

Appendix B - Map to Occupational Clinic 	9

Appendix C - Map of Emergency Evacuation Routes 	10

1.0   Purpose

It is Burns & McDonnell’s policy to protect its personnel, community, and environment. As such, this facility maintains an Emergency Action Plan (EPA) which details procedure to prevent and minimize hazards to human health and environment. This written document is prepared to demonstrate compliance with 29CFR 1910.38.

The Plan addresses medical emergencies and emergencies resulting from fire, explosion, bomb threats, civil disturbances, weather, and any potential release of toxic chemicals. The provisions of the Plan will be implemented during any event, which may threaten human health or the environment.

1.2 Contact Information

| Emergency Information |  |  |  |
| --- | --- | --- | --- |
| Emergency Call 911 |  |  |  |
| Hospital (Emergency Care): Aspirus Riverview Hospital 410 Dewey St Wisconsin Rapids, WI 54494 +1715-423-6060 *Map / Directions can be found in Appendix A* | United Emergency Med Response Ambulance service Wisconsin Rapids, WI (715) 423-7777 |  |  |
| Fire Department: Wisconsin Rapids Fire Department 1511 12th St S, Wisconsin Rapids, WI 54494 (715) 423-1150 | Law Enforcement Agency: Wisconsin Rapids Police Department 444 W Grand Ave, Wisconsin Rapids, WI 54495 (715) 423-4444 |  |  |
| Poison Control Center: 1-800-222-1222 |  |  |  |
| Environmental Emergencies |  |  |  |
| National Response Center / USEPA: 1-800-424-8802 |  |  |  |
| Name of ContractorSpill Response Service: Telephone Number |  |  |  |
| Occupational Clinic Information |  |  |  |
| Occupational Clinic Aspirus Riverview Hospital 410 Dewey St Wisconsin Rapids, WI 54494 +1715-423-6060 *Map / Directions can be found in Appendix B* |  |  |  |
| Important Project Numbers |  |  |  |
| Senior Project Manager: Seth Hanebutt |  | 816-822-4381 | 816-223-0999 |
| Project Manager: Bob Fayard |  | 816-822-4275 | 816-309-2593 |
| Field Site Manager: Name |  | Office Number | Mobile Number |
| Site Safety & Health Manager: Name |  | Office Number | Mobile Number |
| Corporate Safety & Health Manager: Michael Korte |  | 816-708-1089 | 816-743-1721 |
| Certified Industrial Hygienist: Eric Wenger |  | 816-822-3894 | 913-313-7954 |
| Workers Compensation: Logan Graybill |  | 816-605-7722 | 816-820-5187 |
| Safety Equipment Manager: Kayce Holloway |  | 816-447-9861 | NA |
| ONE CALL |  | 811 |  |

2.0   Types of Emergency Evacuations:

At this location, the following types of emergencies exist:

- Fire or Explosion

- Medical Emergency

- Severe Weather

- Tornado

- Flooding

- Toxic Chemical Release

- Workplace Violence

- Bomb Threat

2.1   Types of Alarm Tones:

Verbal Communication

Air Horn

Cell Phone

Radio

3.0   Employee Training

Employees shall be trained in safe evacuation procedures during orientation, and refresher training        shall be conducted whenever the employee’s responsibilities or designated actions under the plan change or whenever the plan itself is changed. The employer shall review with each employee upon

initial assignment the parts of the plan which the employee must know to protect the employee in the

event of an emergency. The training shall include the use of floor plans and workplace maps which        clearly shows the emergency escape routes included in the Emergency Action Plan.

4.0   Fire Prevention Plan

The Fire Prevention Plan has been established to control and reduce the possibility of a fire and to

specify the type of equipment required to be available in case of a fire.

In addition, smoking is only allowed in posted designated smoking areas.

.

| The smoking area(s) for this location are: |  |
| --- | --- |
| Office Trailers (designated area outside) | Craft Break Trailer (designated area) |

4.1   Fire and Emergency Reporting Procedures

In the event of a fire and/or any other type of emergency, the following reporting procedures shall be

followed.

When a fire is detected activate the alarm system immediately to notify all personnel.

Personnel shall verify what type of alarm is sounding. Then, act accordingly to the alarm. The

Emergency Coordinator or their designee shall contact the local fire department.

The local fire department will perform all emergency rescue and firefighting duties. The Emergency Coordinator or their designee shall meet with the fire department to give them information concerning the emergency and to notify them of any missing persons.

4.2   Maps

Maps have been developed for this project to show the emergency evacuation routes. These maps are posted in common areas of the project to provide guidance in an emergency. A copy of the floor plan and maps are in Appendix C.

4.3   Emergency Evacuation Procedures and Assignments

- Should evacuation of the project be required, the following procedures shall be followed to ensure safe evacuation of all personnel.

- The Emergency Coordinator shall utilize the alarm system or means of communication (e.g., air horn, Cell phone, radio, etc.) to effectively communicate that evacuation of the project is required.

- The Emergency Coordinator shall notify the local emergency services of the emergency and type of response needed.

- Personnel shall proceed to the nearest available and safe exit or refuge zone as quickly as possible.

- Personnel operating moving machinery (trucks, forklifts, hand tools, etc.) shall shut equipment off in a safe manner and proceed to the nearest refuge zone.

- Personnel shall gather at a refuge zone. The refuge zones will provide sufficient space to accommodate the employees. During evacuation procedures personnel shall move away from the exit discharge doors of the building and avoid congregating close to the building(s) or where they might hamper emergency operations.

- The Emergency Coordinator shall verify that the visitor log has been removed from the building.

- The Emergency Coordinator shall conduct a head count to verify that all personnel have been safely evacuated.

- The Emergency Coordinator shall communicate to the fire department either that all personnel have been safely evacuated or who remains unaccounted for.

- After the determination has been made, that return to work is safe, by the Emergency Coordinator, employees may return to work.

| Refuge Zones |  |
| --- | --- |
| Area | Designated Refuge Zone |
| Site Wide | Primary – Project Site Office Trailers Secondary – Contractor Parking Lot |

5.0   Tornado Procedures

Weather is monitored by computers, portable weather stations and / or cell phones. If a tornado warning  or watch has been issued by local weather services(s), the Emergency Coordinator shall notify all employees. Should evacuation be required, personnel shall evacuate to the nearest shelter.

| The area(s) which have been designated to provide shelter during a tornado is as follows. |  |
| --- | --- |
| Department / Area | Designated Refuge Zone |
| TBD upon mobilization |  |

6.0   Rescue and Medical Duty Assignments

Should rescue be required, the local emergency service responding to the emergency is responsible for performing any rescue.

Designated personnel who have been trained in first aid and cardiopulmonary resuscitation (CPR) and provided medical assistance within their capabilities.

| Personnel who have received First Aid / CPR training are: |  |
| --- | --- |
| TBD upon mobilization |  |

NOTE:

Professional emergency services responding to an emergency will assist with and direct all rescue and    medical duty assignments upon their arrival.

7.0   Critical Plant Procedures

The procedure taken to care for essential plant operations until a total evacuation becomes absolutely necessary include:

Monitoring the Project Power Supply

Monitoring Water Supplies

Maintaining Communication Systems

8.0   Emergency Coordinator

There shall be at least one Emergency Coordinator for every twenty employees in the workplace to provide guidance and instruction at the time of the evacuation. The employees selected shall be trained in the workplace layout and various escape routes from the workplace.

| Emergency Coordinators for this project and/or building are: |  |
| --- | --- |
| TBD upon mobilization |  |

All Emergency Coordinators shall be made aware of.

Any physically handicapped employees who may require additional assistance and hazardous areas        to avoid during emergencies.

Any visitors or personnel who are not permanently assigned to the project and / or building.

Appendix A

Map / Direction to Hospital (Emergency Room)

Head north on Rangeline Rd toward Bornbach Rd

4 min (2.5 mi)

Continue onto County Hwy Z/County Rd Z

2 min (1.8 mi)

Continue on Rangeline Rd to Wisconsin Rapids

4 min (2.2 mi)

Drive

2 min (0.6 mi)

Turn right.

Destination will be on the left.

22 s (400 ft)

410 Dewey St

Wisconsin Rapids, WI 54494

Appendix B

Map / Directions to Occupational Clinic

Head north on Rangeline Rd toward Bornbach Rd

4 min (2.5 mi)

Continue onto County Hwy Z/County Rd Z

2 min (1.8 mi)

Continue on Rangeline Rd to Wisconsin Rapids

4 min (2.2 mi)

Drive

2 min (0.6 mi)

Turn right.

Destination will be on the left.

22 s (400 ft)

410 Dewey St

Wisconsin Rapids, WI 54494

Appendix

Map / Emergency Evacuation Routes